Radioactive Materials Use Application (Non-Human Research)

Date: 	August 10, 2018

Section 1 – Applicant Information

A.	Authorized User (The authorized user is the radioactive use permit holder who takes responsibility for all purchase, use and disposal of radioactive materials under the conditions of this application.  The term principal investigator is separate from authorized user, i.e. multiple principal investigators can be working under a single authorized user.)

| Name | Department |
| --- | --- |
| Office Location | Lab Location |
| Office Telephone | Lab Telephone |
| E-Mail Address | Contact Person |

- Applicant’s Radioisotope Training and Experience Form	  Previously filed   Attached

- Participating personnel

| Name | Telephone | Email | Training Form |
| --- | --- | --- | --- |
|  |  |  | Previously Filed | Attached |

Section 2 – Radioisotope Use

A.  List all isotope information

| Isotope | Physical Form | Chemical Form | Activity per procedure (μCi) | Possession limit (μCi) | Estimated annual usage (μCi) |
| --- | --- | --- | --- | --- | --- |

- Briefly describe the purpose of radioisotope use (300 characters maximum).

C.  Using a chronological narrative, describe the steps in handling of isotopes from storage to disposal.  (Paste text or upload document.)

D.    Does the isotope procedure involve processes that would result in the generation of vapors, fumes, gases or a strongly exothermic reaction?  (Describe, 300 characters max)

E.    Live animals will be used.

Attach protocol (Paste text or upload document.)

Animal species (common name):

Number used per year:

Activity (μCi) per animal:

Approximate weight per animal (grams):

Section 3 – Waste

Required: A tag bearing the accurate inventory of the contents for all will be provided.

(select all that apply, at least one box much be checked)

Not applicable (sealed sources only)

Waste storage areas are designated on the lab drawing.  These areas will be monitored monthly for contamination.

Specific arrangements will be made with Radiation Safety for disposal of specific items not covered below (explain).

Dry Solid

Dry, solid lab waste containing contaminated lab items such as paper, plastic, glass and metal will be separated by isotope and placed in bags provided by Radiation Safety.  No liquids, sharps, lead shielding or other hazardous materials will be permitted in this material.  Radiation Safety will be contacted to arrange for pickup and disposal.  A tag bearing the accurate inventory of the contents will be provided.

Other (explain)

Aqueous Liquid

Liquid waste will be readily water-soluble or readily dispersible biological material that will not contain any hazardous constituents that are not permitted for sewer disposal.

Aqueous liquid waste will be collected in shatter-proof containers, separated by isotope and collected for disposal by Radiation Safety.  A tag bearing the accurate inventory of the contents will be provided.

Aqueous liquid waste will be sewer-disposed using a designated sink in the lab (shown on lab drawing).  The activity will be kept within the activity limits specified by Radiation Safety.  A complete record of isotope disposal will be kept.

Other (explain)

Scintillation Fluid

Scintillation vials containing only high-flash point (eco-safe or bio-safe type) fluids will be generated.

Scintillation vials containing low-flash point (toluene or xylene-based) fluids will be generated.  I understand that I may be required to provide funding for the disposal of these materials.

Constituents

H-3, C-14, I-125 or lab wipe test samples containing less than 0.05 μCi (100,000 DPM) per milliliter.

H-3, C-14 or I-125 containing more than 0.05 μCi (100,000 DPM) per milliliter.

Other isotopes.

These will be collected for pickup by Radiation Safety in:

trays

barrel provided by Radiation Safety

bulk fluid in a shatter-proof container provided by my lab.

Other (explain)

Biological Waste

Animal tissue/carcass

tissue/carcass will be brought unfrozen directly to Radiation Safety.

tissue/carcass will be kept in a freezer in the lab (specified on lab drawing) until Radiation Safety is contacted to arrange for pickup.

tissue/carcass contains less than 0.05 μCi (1.85 kBq) of H-3, C-14 or I-125 averaged over the entire weight of the animal, and will be disposed directly as radioactively-deregulated waste.

Other (explain)

Sharps

Radioactively contaminated sharps with half-lives greater than 120 days will be collected in an approved sharps container until Radiation Safety is contacted for pickup.

Radioactively contaminated sharps with half-lives less than 120 days will be collected in an approved sharps container until Radiation Safety is contacted for pickup.

Organic/Hazardous Liquid Waste

Waste that is not water-dispersible or is restricted from sewer disposal will be generated.  These materials will be collected in shatter-proof containers and arrangements made for Radiation Safety to pickup and dispose.  I understand that I may be required to provide funding for the disposal of these materials.

Section 4 – Lab Facilities

Radioactive materials will be utilized, stored and disposed only in designated lab areas, as shown on the attached lab drawing.  A separate drawing for each room number is attached.  Lab benches, equipment and utensils will be clearly marked “Radioactive” until decontaminated and decommissioned.

Other (explain)

In addition to facilities listed above, the following equipment will be utilized:

Chemical fume hood

Biological safety cabinet (Bio-hood)

Filtered isotope hood

Glove box

Isotope disposal sink

Other (explain)

Contamination surveys will be performed monthly with calibrated instruments approved by Radiation Safety.  At the end of each day of isotope usage, a survey using a portable meter approved by Radiation Safety will be made in areas where beta isotopes (βmax > 150 keV), gamma or x-ray emitting isotopes have been used.  Any contamination found above the applicable limits will be immediately decontaminated and resurveyed to verify effectiveness.  Records of monthly surveys will be documented and kept available for inspection.

Equipment to be used for monthly surveys:

Liquid scintillation counter, location:

Gamma counter, location:

Other (explain):

Lab space is shared with another Authorized User.  A memorandum of understanding is attached that clearly describes an agreement to share the lab space and responsibilities for performing and documenting lab contamination surveys (wipe tests).

Section 5 – Personnel Protection

All staff handling unsealed radioactive materials will be required to wear lab coats (or scrubs), gloves and close-toe shoes.

In addition to the above, staff will be required to use:

Face/eye protection

Full suit/splash protection

Respiratory protection, (explain)

Other (explain)

Personnel Radiation Dose

Staff who use 1 mCi (amount withdrawn from the stock vial) or more of high-energy beta or 0.5 mCi of gamma or x-ray emitting isotopes will be required to be monitored for extremity and whole-body radiation dose.

Staff performing radio-labeling where volatile materials are involved will be monitored for inhaled or ingested radioisotopes.

Staff or facilities will be monitored (explain)

Section 6 – Certification of Responsibility

- I certify that the information included in this application is complete and correct to the best of my knowledge.

- I agree to notify the Radiation Safety Committee and obtain prior approval for any changes to this protocol.

- I agree to abide by the regulations, guidelines and license conditions regarding the use of radiation and/or radioactive materials as set forth in Wisconsin License #079-1104-01, by the State of Wisconsin and the Medical College of Wisconsin and Froedtert Memorial Lutheran Hospital.

- I understand that failure to comply with these rules and regulations could result in the loss of my privilege to use radiation and/or radioactive materials.

- I understand that failure to comply with these rules and regulation may result in a fine, levied by  the State of Wisconsin, payment for which I will be held personally liable.

Signature of Applicant				Date

Radioactive Materials Training and Experience

(Authorized User Form)

Instructions:  Please complete all of the sections below.  For training and experience requirements, refer to the MCW Guidelines for the Use of Radioactive Materials in Research, Section II-B.  Attach Curriculum Vitae (CV) if necessary.

Name

Department

Institution granting highest degree

Degree		       Year Completed

Subject

# Formal Training in Radioisotope Handling and Safety

| Course Title | Where | Date | Hours |
| --- | --- | --- | --- |

Supervised Experience with Radioisotopes in the Laboratory

| Where | Date | Isotope | Activity | Type of Use | Total Hours |
| --- | --- | --- | --- | --- | --- |

# Other Experience using Radioactive Materials

Have you ever been an authorized user on an NRC or Agreement State License?

If yes, where?        (attach a copy of authorization)

List Previous Experience with Radioisotopes

| Where | Date | Isotope | Activity | Type of Use | Hours |
| --- | --- | --- | --- | --- | --- |

I certify that the above information is correct and complete.

Signature							Date